## Use Cases
Field | Name | Use Case Description | Problem Statement / Rationale | Benefit Categories | Examples | Comments/Notes | Infrastructure Requirements | Data Characteristics | Hardware Requirement | Software Requirement
Def. --> | Short and to the point, befitting the requirement for this use case | Description summarizing who does what for this use case (Function) | What problem does the Use Case address? Why is the operation being performed? (i.e. Short explanation of the why behind the requirement) | Select from list of high level benefits | What is an example implementation of this use case? | Additional information and comments by the LFE, use case submitters and the community. | What grid and market infrastructure must be in place to achieve this use case? | What resolution, duration, and type of data are necessary to perform for this function? | Specify SAM Hardware requirements to achieve this use case | Specify SAM Software requirements required to achieve this use case
| Mandatory | Mandatory | Mandatory | Mandatory | Mandatory | Optional | Optional | Optional | Optional | Optional
| Record Time Series Data | Collect high-resolution V & I data at the edge | The edge is data rich, but most of that information is discarded before it can be used by customers, utilities or researchers. | Visibility | Local voltage and current time series stored on meter or customer premises
| Pull Measurement Data | When requested by DSO, measurement data from local storage at customer premesis uploaded. | Operator wants to to pull stored data from measurement infrastructure at customer premesis on an as needed basis, leaving them neither blind to local conditions nor buried by (and billed for) high resolution uploads. | Visibility | 1. More detailed analysis based on an event at customer premisis can be done to fulfill [SO goals](./definition-DSO-goals.md#dso-goals). 2. More detailed analysis based on a general grid exceptions or shortcomings can be done, included forecasted, to fulfill [SO goals](./definition-DSO-goals.md#dso-goals). 3. Privacy is maximized, since unneccesary data retrieval is avoided, to fulfill [regulation on privacy](./definition-DSO-goals.md#fulfill-regulation-on-privacy). 4. Data is only pulled if there is a clear legal, operational reason, or customer approval to do so. To fulfill [regulation on privacy](./definition-DSO-goals.md#fulfill-regulation-on-privacy). | "1. More detailed analysis based on an event at customer premisis can be done to fulfill [SO goals](./definition-DSO-goals.md#dso-goals). 2. More detailed analysis based on a general grid exceptions or shortcomings can be done, included forecasted, to fulfill [SO goals](./definition-DSO-goals.md#dso-goals). 3. Privacy is maximized, since unneccesary data retrieval is avoided, to fulfill [regulation on privacy](./definition-DSO-goals.md#fulfill-regulation-on-privacy). 4. Data is only pulled if there is a clear legal, operational reason, or customer approval to do so. To fulfill [regulation on privacy](./definition-DSO-goals.md#fulfill-regulation-on-privacy)."
| Upgrade Deferral | Avoid or defer upgrades to electric panels, service lines, utility poles, and transformers | Infrastructure must be built out to support coincident peak, potentially resulting in expensive upgrades | Efficiency, Affordability | Changing the time of production and consumption can lower peak energy flows over equipment throughout grid, increasing lifetime and lowering the required equipment ratings. | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgicacl Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill,
| Get Local Grid Conditions | Provide utility real time information about local grid conditions. | Utilities are flying blind at the edge | Visibility | Allow remote monitoring of system devices and conditions or send requests for action based on locally detected conditions
Legacy | Time of Use Pricing | Record quanity and timing of electricity usage to inform utility billing department | Incentivize customers to shift their time of electricity use to times when supply is abundant without additional grid or communications infrastruture. | Affordability, Congestion Management | Utility billing accuracy and ease, better match utility costs to customer prices. | Charge higher energy rates for usage during peak hours. Like early cell phone plans discounted "nights and weekends" style broad clock based usage incentives.
Legacy | Simple Billing | Measure total energy consumption over billing cycle. | Charge for electricity supply (This is a long solved problem, except non-technical losses). | N/A - this is the oldest meter use case | Every meter even installed does this simple function. | Many parties are reluctant to adopt change, and the old model of using meters only for measuring total energy consumption requires the lowest possible hardware upgrade cost.
| DER connect | 2 way communication between meter and colocated energy resources. | Utilities lack an affordable, scalable way to locally communicate with DERs | Efficiency, Visibility | Monitor EV connection and disconnection with super advanced meter. Coordinate DERS with super advanced meter.
| DER Accounting | Validate DER performance, share DER information with customers, detect contract violations | Everyone lacks tools to validate performance of deployed DERS | Affordability, Visibility
| DER Optimization | Coordinate DER fleet for DER participation in the market and a contribution to system performance | Utilities do not have the tools to comply with FERC 2222 in the unitieds states, nor other requirements on DER participation in the grid and wholesale markets. | Efficiency, Security, Visibility, Affordability | Home Energy Management system can be a DER, connecting to the SAM and subscribing to its services. DSO would not be responsible for those connected DER devices | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgicacl Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill,
| Correct Records | Update utility models for distribution system | Distribution system, unlike higher voltage transmission grids, is riddled with missing and erroneous data. | Visibility, Efficiency
| Device Remote Update | Utility must be able to access and update devices remotely. The utility needs the ability to manage the installed SAM SGCs in the field and update installed SGCs quickly over-the-air | Over a long lifetime, device needs new functionality and security updates to keep pace with rapidly advancing industry, and prolong the lifetime of the deployed SAM | Efficiency, Security
| DERs for Stability | Coordinate DER to maintain inherently stable state, minimizing need for interconnection studies | System wide stability must be maintained to avoid widespread outage, and the time consuming and inflexible system wide studies to ensure stability slow down good changes to the system and only promise to become more of a blocker to DER and renewable adoption over time as complexity increases for both the system and interconnection request queues. | Security, Reliability, Visibility, Resilience, Congestion Reduction, Complexity Management, |  | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgicacl Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill,
| DERS for Economy | Coordinate DER to maximize value at local and bulk system level | While bulk system assets are dispatched to serve the load at lowest cost, distribution system assets have not been operated with this information or precision, increasing costs and complexity. | Visibility, Affordability, Complexity Management, Congestion Reduction | Follow a price signal or regularly run an optimization including availabile supply and demand locally. | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgicacl Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill,
| EVs as a Grid Asset | SAM coordinates local vehicle-to-grid exports to meet system-wide needs | If not properly designed and managed, electric vehicle charging will create new challenges for the electric power system and distribution system operators - Voltage, frequency, harmonics issues - Causing congestion on the grid that will impact grid investments, utility rate structures Utilities and owners lack proper tool to help utilize EVs as assets - Improve energy resilience for owners - Provide grid services/V2G - Create value for owners | Reliability | EVs are aggregated to participate in a real-time power market to deliver ancillary services | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgicacl Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill,
| Customer Limit Awareness | Provide the information to customers about their momentary and near future maximum safe transport capacity limits. (average consumption and average generation power limit per 5 minutes or better). to have a trusted continuously running assessement if customers remain within their up-to-date limits and receive an alert if violation is approached or detected. | Limited distribution infrastructure in some locations limits custoemer usage (or safe transport capacity), but customers have no real time awareness of how close to that limit they are approach or when the threshold is crossed. | Visibility, Efficiency | Increased energy transport in some locations could increase outages and voltage problems, which both customer and utility would like to avoid Enabling customers to optimally use their LS-connection (Ned) DSO can offer each customer maximal energy transport without increase on outages and voltage problems. DSO can offer each customer to offer temporary non-used energy transport rights to grid-connectivity-determined other customers. DSO can keep track on the quality of my T-prognosis to my TSO. DSO enable market entities to optimze their services and exploit new services within the safe limits. (e.g. in combination of (2) ) DSO can avoide peak-loads, so that I can optimize my investments in the reinforcement of the grid and have positive effects on makeability.
| Remote Management | Remotely manage and update the firmware, operating system, services and software systems on the meter. | Maintain a fleet of sophisticated edge devices (SAM) securely and efficiently. Keep all software current | Efficiency, Security, Visibility | Updates allow edge device to meet changing needs long after installation. Remote management saves lots of time and money in dispatching teams to the field, and improves the efficency of the fleet of devices which will contain less diverse releases.
| Curtail Behind the Meter Solar | PV solar inverters begin and end curtailment when requested by utility operation from control center, and verify whether and when this command has been completed. (Direct a solar inverter to curtail DER production in excess of real time system demand.) | When electricity supply exceeds demand, system operator cannot curtaion distributed solar, or when they can, it's not easy to restore once a crisis is averted so that customer and utility resume the benefits of distributed generation. Supply and demand must match at all times, but during peak solar production, supply can exceed demand, undermining system stability. Renewable integration is then overly limited most of the time to prevent disaster during these net production peaks. | Resilience, Reliability, Visiblity, Congestion Management, Security | When electricity supply exceeds demand, system operator needs to curtail distributed solar, then easilly restore it once a crisis is averted so that customer and utility resume the benefits of distributed generation. | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgicacl Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill,
| Remote Dis/Connect | Utility can remotely turn service on/off. | Sending trucks to turn on or off retail electricity service is expensive and lags the events triggering the action. | Efficiency | Allows utility to efficiently initiate and deactivate service for new and departing customers
| Outage Avoidance | Identify risks and anomolies so that preventative steps can be taken to stop outages from happening | Unexpected conditions in the distribution system, including faults, cause customers to lose power | Reliability, Resilience, Visability, Security |  | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgicacl Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill,
| Outage Recovery | Mitigate the impact of outges by minimizing the number of customers affected dn the length of the outage | Outage recovery is time consuming and difficult to optimize in the distribution system | Reliability, Resilience, Visibility, Security
| Device Health | Monitor device health and send distress signal: note temperature, missing data metrology or output data, software compatibility. | Hardware fails unexpectedly and silently. | Reliability
| Neighbor Health | Send distress signal on behalf of neighboring SAM who stop checking in, covering device health case for communication or total device failure | Despite connectivity and close proximity, deployed hardware cannot be tasked with looking out for neighboring hardware or providing redundancy of increasingly sophisticated models and operations. | Reliability
| Neighbor Monitoring | Mirror neighboring device status and metadata to add redundancy. | A high performing device will be missed all the more if it fails, and no redundancy exists among meters on the same circuit. | Reliability
| Data Access | Provide real time and historical local system data to data scientists with permission. | Data scientists want to access data from the SGC that can be downloaded or integrated via API or other data visualization mechanism | Visibility |  |  |  |  | Local and Cloud Storage Size?
| Opt In Data Access | Utility, customers, and 3rd parties can opt in to sharing select data with one another securely | Data collection and communication risks sharing sensitive information or privacy violations. All parties reluctant to capture information for fear of leaking it to other parties, depriving themselves of the associated insight. | Privacy, Security, Visibility |  |  |  |  | Local and Cloud Storage Size?
| Track and Inform Hosting Capacity | Provide data for planning decisions, then track local DER hosting capacity when values depend on local conditions. | Utilities do not have an accurate, time-varying estimate of their system's ability to host additional DERs
| Estimate Hosting Capacity | Update predictive models to recommend hosting capacity thresholds based on local conditions and events | Utilities do not have an accurate, time-varying estimate of their system's ability to host additional DERs | Visibility, Sustainability
| Meter to Transformer Topology | Estimate meter to transformer assignments based on meter time series data. | Utilities do not know the groupings of meters under their secondary transformers with confidence | Visibility
| Surgical Load Shedding | Avoid outages to the many by strategically dropping service to a few loads. SAM could carry out the shedding, as well as identify loads of lowest expected harm to shed. | Supply and demand must match at all times, but during peak solar production, supply can exceed demand, undermining system stability. When load is unserved or "shed" in order to maintain service everywhere else, selection of which load to shed is imprecise. | Equity, Affordability, Reliability |  | See also: Upgrade Deferral, DER optimization, DERs for Stability, DERS for Economy, EV's as a grid asset, Curtail Behind the Meter Solar, Outage Avoidance, SI Curtailment, Surgicacl Load Shedding, Reduce peaker Usage, Climate Aware Usage, EV to manage residential bill,
| Problem Spotting | Detect safety risks, equipment failure, and anomolous power quality in real time | Utilities lack the ability to detect and analyze grid voltage anomalies | Resilience, Visibility
| Classify Problems | Given unusual grid conditions, determine whether current Identify singular local issues, and Utilities lack the ability to quickly choose an optimal response to unusual grid conditions. | Utilities lack the ability to understand the cause or causes of problems. | Visibility,
| Predict Problems | Predict safety risks, equipment failures, and outages based on local conditions and a locally trained predictive model. | Utilities lack the ability to predict grid outages ahead of time | Resilience, Visibility, Security
| CLI Data Access | Bypass (or preempt) graphical user interface to remotely access device. | Utilities want to interact with the data coming from the SGC on day 1, that is not ready for display in the UI provided (but will be) | Visibility | The sophisticated customer or "do it yourself guys" want to be able to connect their home energy management system to data from SAM
| Unify metering/ Multi-utility Metering | Measure all utility relevant customer events with one device. | Utilities do not know residential PV production without a second meter at the PV, and similarly need additional meters to track EV charging events and demand response. | Visibility, Efficiency
| Reduce peaker Usage | Coordinate DERS and Load to minimize the burning of fossil fuels to serve peak load | The power plants turned on in times of highest energy demand are usually the least efficient fossil fuel plants, costly in dollars and harmfull emissions. | Affordabiltiy, Reliability, sustainability
| DER Validation | Utiliities and customers can monitor and validate DER performance. | Utilities lack tools to validate DER performance and share DER information with their customers | Visibility
| DER Detection | Identify customer DER adoption based on utility visible | Residential solar adoption is widespread and difficult for a utility to estimate, as are heat pumps, EV's etc. | Visibility, Efficiency | Utility can avoid surprises and operate based on true system conditions, even just on utility side of the meter.
| Climate Aware Usage | Notify customers in real time when conservation would reduce fossil fuel emissions (and when the climate cost of increased usage would be minimal) | Customers want to minimize their carbon foot print but do not have enough information to modify their behavior consistent with these goals. | Sustainability, Visibility
| Dynamic Incentives | Notify customers in real time when conservation would reduce outage risk and the utility's costs and their own, as well as when increased consumption carries minimal cost or risk. | Aggregators and utilities do not have the capability to target specific customers in real-time to spur enhanced demand response during extreme grid events. Real-time notifications can let customers know that they can be contributing more flexible demand as grid operators face capacity constraints. | Affordability, Efficiency, Reliability | Utilities maintain reliabity and reduce outage risk, DER owners/aggregators ideally receive more compensation from increased demand response, wholesale market operators achieve resource adequacy. California IOUs have pilloted this with companies like Sense and OhmConnect.
| Neighborhood Energy Transactions | Customers within the distribution system can transact with one another for real and reactive power in real time based on DER availability | No peer to peer information or coordination is possible despite widespread DER adoption. | Visibility, Efficiency, Resilience | Better utilization of existing and emerging DERS. Entrepeneurial "prosumer" customers can meet local needs.
| EV purchase to change Residential Energy Bill | Coordinate EV charging and discharging to minimize customers residential electricity bill | EV adoption can boost peak customer usage and drive bills if not intentionally. Managed | Affordability, Visibility
| Identify Unsafe Situation | Identify local grid conditions and power flows that put people and equipment at risk | Equipment failures can lead to difficult to detect unsafe power flows. | Visibility, Reliability, Security | High impedence fault detecction
| Identify Security Breach | Identify when access or control is exercised in excess of user permissions. | Non-technical losses increase the cost of electricity for tax payers and rate payers. Data remains critical even as it is shared more among customers, utilities, and third parties with consent. | Security, Visibility
| Support Flexible Tariffs | Track real time supply and demand to frequently keep rates incentivizing optimal dispatch | Elecctricity demand is price-inelastic without real time information | Affordability, Reliability, Visibility
| Programmable Alarms and Events | User can program what edge conditions they want to be alerted to. | Utilties, customers and third parties wish to know about specific conditions in real time, without a way to learn them. | Reliability, Visibility, Security

## Benefit Categories
Benefit Category
Visibility
Efficiency
Affordability
Security
Reliability
Sustainability
Equity
Resilience
Privacy
Participation
Congestion Reduction
Complexity Management